# FORMAT-GNA-INT-2B

INTIMATION FOR FINAL GRANT OF GNA/GNARE UNDER REGULATION 22.2 TO ENTITIES UNDER REGULATION 17.1 (II), (III) AND (V)

| 1 | Intimation No. | : | CTU/Region/GNA-INT-2B/Application no. |
| --- | --- | --- | --- |
|  | Date | : |  |
| 2 | Ref. Application No. | : |  |
|  | Date | : |  |
| 3 | Name of the Applicant | : |  |
| 4 | Address for Correspondence | : |  |
| 5 | Nature of the Applicant |  |  |
|  | Drawee entity connected to Intra-STS | : |  |
|  | Distribution Licensee seeking to connect to ISTS | : |  |
|  | Bulk Consumer seeking to connect to ISTS | : |  |
|  | Transmission Licensee connected to ISTS | : |  |
| 6 | Details for General Network Access (GNA) requested |  |  |
| a | Quantum (MW) of GNA/GNARE | : |  |
| b | Start date of GNA/GNARE | : |  |
| c | End Date of GNA/GNARE | : |  |
| 7 | Details of General Network Access (GNA) granted |  |  |
| a | Quantum (MW) of GNA/GNARE | : |  |
| b | Start date of GNA/GNARE | : |  |
| c | End Date of GNA/GNARE | : |  |
| d | GNA granted with |  | Existing System With Network Augmentation |
| e | Dedicated transmission System for GNA | : |  |
| f | Transmission System for GNA (Under Scope of applicant) |  |  |
| g | Transmission System under ISTS for effectiveness of GNA |  |  |
| 8 | Details for Point of Interconnection |  |  |
| a | Point at which connected to ISTS/Intra-state system |  |  |
| b | Voltage level of terminal bay |  |  |
| c | Terminal bay at ISTS end already available |  |  |
| d | Terminal bay at ISTS end to be constructed under ISTS |  |  |
| e | Bay no. and SLD |  |  |
| 9 | BGs and Charges [only for entity mentioned at Regulation 17.1 (iii)] |  |  |
| a | Conn-BG1 | : | Rs. 50 Lakh |
| b | Conn-BG2 | : |  |
| c | Conn-BG3 at Rs. 2 Lakh/MW | : |  |
| d | One time GNA charge at Rs. 1 Lakh/MW | : |  |
| 10 | Details of communication system |  |  |
| a | Details of communication system | : |  |

Note: General Network Access is granted to the ISTS subject to the following:

- The Grantee shall abide by all provisions and its amendments thereof or re-enactment of:

- Electricity Act, 2003;

- CERC (Connectivity and General Network Access to the inter-State transmission System) Regulations, 2022 and corresponding Detailed Procedure for Connectivity and GNA;

- CEA (Technical Standards for Connectivity to the Grid) Regulations, 2007;

- CEA (Technical Standards for construction of Electrical Plants and Electric Lines) Regulations, 2022;

- CEA (Grid Standard) Regulations, 2010;

- CEA (Safety requirements for construction, operation and maintenance of Electrical Plants and Electrical Lines) Regulations, 2011;

- CEA (Measures relating to Safety and Electricity Supply) Regulations, 2023;

- CEA (Installation and Operation of Meters) Regulations, 2006 and amendments thereof;

- CEA (Technical Standards for Communication System in Power System Operations) Regulations, 2020;

- CERC (Communication System for Inter –State transmission of Electricity) regulations, 2017;

- CERC (Indian Electricity Grid Code) Regulations, 2023;

- CEA (Cyber Security in Power Sector) Guidelines, 2021;

- CEA (Manual of communication planning in Power System operation), March 2022;

- CERC (Sharing of Inter-State Transmission Charges and Losses) Regulations, 2020

- CERC Guidelines on “Interface Requirements” 2024 under the CERC (Communication System for inter-State transmission of electricity) Regulations, 2017.

- Any other applicable Act / Rules / Guidelines / Standards / Regulations / Procedures etc.

Non-compliance of above shall be dealt with as per the relevant provisions stipulated.

- That the applicant shall keep the CTU and RLDC/NLDC indemnified at all times and shall undertake to indemnify, defend and keep the CTU, RLDC/NLDC harmless from any and all damages, losses, claims and actions including those relating to injury to or death of any person or damage to property, demands, suits, recoveries, costs and expenses, court costs, attorney fees, and all other obligations by or to third parties, arising out of or resulting from the GNA transaction.

- The entity shall be required to pay applicable ISTS transmission charges as per relevant CERC Regulations/Orders.

- Even in case of failure to fulfil the conditions of NOC of STU by GNA grantee [applicable for entity under Regulation 17.1 (ii)] prior to start date of GNA, the GNA shall be considered effective.

Only for entities under Regulation 17.1 (iii)

- Conn-BG1 and Conn-BG3 shall be furnished within 1 (one) month of intimation of respective grant of GNA, failing which the application for GNA shall be closed, and the application fee shall be forfeited. No extension of time shall be granted to furnish the requisite bank guarantee, and in such case the GNA shall be revoked under intimation to the GNA entity.

The entity shall enter into the GNA Agreement incorporating the relevant provisions of Regulation 10, applicable to such an entity, failing which the application for GNA shall be closed, the application fee shall be forfeited and Conn-BGs, if submitted, shall be encashed.

- Depending on the topology and transmission system requirement, CTU may plan the connection of two or more bulk consumer/distribution licensee at terminal bay of an ISTS substation already allocated to another entity (such as through Loop-in Loop-out (LILO) of DTL) or switchyard of a bulk consumer/distribution licensee having Connectivity to ISTS for connection and drawl of power. In such cases, an agreement (model agreement as per FORMAT-CONN-SHARE) shall be duly signed within one (1) month of the intimation regarding the sharing of DTL and/or terminal bay between the entities for sharing the terminal bay / switchyard / dedicated transmission line, failing which the intimations for grant of GNA shall be liable for revocation.

- Instruction regarding submission of technical data for signing of Connectivity Agreement

- GNA grantee shall comply with CEA (Technical Standards for Connectivity to the Grid) Regulations, 2007 & amendment(s) thereof and shall have to furnish final technical data and requisite compliance as per FORMAT-CONN-TD-3 of Detailed Procedure to CTU at least one (1) year prior to Start date of GNA for signing of “Connectivity Agreement-IEGC”.

- After receipt of technical data, CTU shall scrutinize the submitted data within thirty (30) days and inform regarding discrepancies (if any). Upon rectification of all discrepancies by entity, CTU within thirty (30) days shall intimate the connection details. Thereafter, the Connectivity Agreement as per Connectivity Agreement-IEGC shall be signed within thirty (30) days.

- Subsequent to issuance of Connection Details-IEGC, if there is any change in technical connection data provided by the applicant, it shall submit the revised technical data to CTU with full justification following which CTU shall process the same for revision in Connection Details-IEGC within thirty (30) days after receipt of complete data. Such request shall be allowed only once at least three (3) months prior to physical connection to ISTS. However, upon physical interconnection with ISTS, revised technical data, if any, shall be provided to CTU for information and record.

- Entity shall provide details of Special Protection Scheme (SPS), if required, integrated into their system. In that event, details of SPS and its setting shall be worked out by the entity in consultation with respective RLDC and RPC.

Place:					       	Name:

Date:					       	Designation: